# Text boxes

Use of Toasters in Staff Kitchens

- When in use do not leave toaster unattended.

- Regular emptying of crumbs from inside  the machine should be carried out.

- Be aware that adjacent smoke detector may be actuated by the smoke from your toast resulting in a false alarm.

- Keep the kitchen door closed (if fitted).

- Operate kitchen air extraction system (if fitted).

- Toaster must be within date for Portable Appliance Testing