Risk Assessment Form

| Department: All | Service: |  | Reference: |  |
| --- | --- | --- | --- | --- |
| Activity: Servicing & Use of Bottled Water Cooler |  | Site: County Hall & other sites |  |  |
| People at Risk: Members of Staff |  | Additional Information: Safety Poster (attached) Manual handling risk assessment (attached) Bottled Water Cooler Association Information |  |  |
| Name of Person Completing Form .…………..Job Title:……………….………………..............Date:……..………… |  |  |  | Review Date:…………..… |

Risk Evaluation

| Hazard | Risk | Initial Rating (L, M, H,) | Existing Control Measures | Final Rating (L, M, H,) | Additional Action Required (action by whom, by when) |
| --- | --- | --- | --- | --- | --- |
| Contaminated water cooler | Infection, poisoning, cross-infection, tainting of water | L | All contracts for bottled water must include the supplier’s regular sanitisation programme. All malfunctions must be reported to the cooler supplier. Only bottles with intact seals are to be used. The shrink-wrap & anti-tamper label must be removed before use. Good siting of cooler & bottles is required. Coolers should not be in the open air, direct sunlight, dusty, unventilated or humid environments. Also they should not be sited near a lavatory. The drip tray should be washed regularly. The shelf life of bottles and time limit of opened flagons should be observed. |  | There must be vigilance following the introduction of new hazards. These could include disinfectants, solvents or fuels. |
| Electrical Fault | Fire or electric shock | L | Portable Appliance Testing is required. When not in use, the user should switch off/unplug empty cooler. |  | There should be 70mm clearance allowed for ventilation. |
| Poor storage of both full & empty bottles | Trips & falls resulting in injury | M | Safe storage of full & empty bottles is required. Uneven, wet or sloping surfaces must be avoided. |  |  |
| Spilled water Poor location of cooler | Slips resulting in injury | M | The cooler should be sited on non-slip flooring. Regular emptying of drip tray is required. A system should be in place to deal with spillages. |  |  |