Relevant Legislation

Health and Safety at Work etc Act 1974

Management of Health and Safety at Work Regulations 1999

Construction (Design and Management) Regulations 2015

Introduction

The way in which the delivery of services is organised within local authorities has changed significantly in recent years.  An ever increasing number of functions now exist which either are, or could be, carried out by independent contractors.  This often leaves the County Council as a Client, or a commissioner of services, rather than a direct service provider.

The health and safety responsibilities of clients are extremely onerous.  Case law has determined that it is not wholly possible to transfer safety responsibilities to the contractor, as has often been assumed in the past.  As part of their enforcement strategy, the HSE has promoted a high profile campaign aimed at large organisations such as the County Council.  The HSE intends to achieve the required improvements to the safety performance of contractors by putting increasing pressure on clients to regulate and monitor the activities of their contractors.  Heavy penalties may be imposed on those who fail to manage this issue adequately.

The County Council makes extensive use of contractors for individual project work.  These contractors are appointed, either through the tendering process or directly, in accordance with standing orders.  A wide spectrum of organisations, ranging from multi-national civil engineering firms to local electricians and plumbers with only one or two employees, is used for this type of work.

Part 1 - Construction Work

It is very important that the Client is identified at the start of the project.  The Construction (Design and Management) Regulations 2015 (CDM) identifies the Client as:

“An organisation or individual for whom a construction project is carried out”

In some circumstances it may not be immediately obvious who is legally the Client and there can sometimes be more than one Client involved in a project.  To avoid confusion this needs to be resolved by those involved at the earliest stage possible.

In determining client roles consideration should be given to who:

- ultimately decides what is to be constructed, where, when and by whom;

- commissions the design and construction work (the employer in contract terminology);

- initiates the work;

- is at the head of the procurement chain;

- engages the contractors;

- holds or manages the budget;

Clients must be aware that Regulation 11 of CDM (Designers’ duties) apply to all construction work, no matter how small, therefore, the scope of a project should be carefully considered at the concept, feasibility and design stages and prior to any construction work commencing.

This section of the manual is intended to focus upon the management of small to medium scale contracts undertaken in County Council establishments, or on sites managed by the County Council.  It is intended to assist establishment managers to ensure that work is properly planned and safely managed.

Policy Section J1 “Construction CDM” provides essential information on CDM requirements and the management of construction projects.  In addition, clicking on the following link provides access to: L153 – Guidance on the Construction (Design and Management) Regulations 2015.

Buildings Maintenance Contractors and Sub-contractors

It is essential that a competent contractor is selected to ensure that the work is carried out both safely and professionally.  Some contractors will be members of trade associations that provide an independent assessment of competence.  This makes the task of evaluating their competence easier.  Examples of such associations include the National Inspection Council for Electrical Installation Contractors (NICEIC) and the Gas Safe Register.

In order to make the process of verifying the competence of building maintenance contractors more straightforward, Property Services may adopt one of the proprietary vetting systems such as “CHAS” or “CONSTRUCTIONLINE”.  This can be facilitated for contractors and their partners through the County Council’s Procurement section.  All framework contractors are procured via the Official Journal of European Communities (OJEU).  This prevents the need for every manager to repeat the exercise each time they commission work.  Additionally, all vetted contractors are provided with safety information and are made familiar with County Council procedures.

Contractors who intend to use sub-contractors as part of their undertaking must include them in their internal management systems and employ vetting procedures to verify their competence.  Therefore, main contractors are requested to notify the County Council of any sub-contractors working for them so that their arrangements for project supervision can be vetted.

All construction work including building maintenance must be coordinated through Property Services, with the exception of:

- Construction work carried out for schools independently

- Construction work carried out on the Highway.

Planning Works

The key to managing the health and safety of a contract successfully lies in forward planning.  Clients must provide designers and contractors who may be bidding for the work with the project-specific health and safety information needed to identify hazards and risks associated with the design and construction work (pre-construction information).  The client or persons commissioning work should:

- ensure that the contractor is given sufficient time to plan and prepare for example, sufficient time to mobilise their workforce/equipment and make arrangements for welfare facilities.

- identify the potential hazards involved whilst carrying out the work, and assess the risk to the contractor’s staff, the County Council’s own employees and members of the public, including children

- select contractors who are competent to deal with these risks

- discuss safe methods of work with them

- discuss any particular hazards present in the workplace

- monitor their work through the duration of the contract

The nature of the work and the associated risk determine the amount of time required to manage the contract effectively.

When evaluating the level of controls required relevant factors are:

- the type of risk associated with the work, for example whether hazardous chemicals are involved with the work, whether the work involves working at height

- the size of the contract, for example whether contractors will be on site for an hour, a week, or whether arrangements being made to contract in a service for a number of years

- public safety implications, for visitors or service users.

Health and safety considerations should be discussed as early as possible and during planning meetings.  The client should carry out a risk assessment to ensure that all relevant issues have been communicated to the contractor so that any changes required to the work patterns of County Council employees can be accommodated.

| Example: | Altering a partition to make a hatch for a new reception area. |
| --- | --- |
| Considerations in the risk assessment: | Design Has the glass been designed to break safely in the event of a violent incident? Has a security system been included? Has a asbestos demolition/refurbishment survey been carried out to ensure invasive work will not disturb asbestos in-situ. This is essential pre-construction information. Is the wall load bearing? Have the site drawing been checked? Are pedestrian routes/emergency routes compromised and have alternatives been identified. Construction Are welfare facilities available? (such as access to staff toilets) Will the work be carried out during working hours? If so, will an alternative entrance be provided for the public? How will members of staff cope with the noise and large quantities of dust generated? Should there be temporary re-location? Has the Contractor been consulted all pre-construction information including the drawings and asbestos surveys? Have suitable barriers and signage been erected and is there a risk that confused clients who may try to gain access? |

All alterations to buildings and building services should be notified to the Property Services.  Further information is given in section E3.

Recording Safe Systems of Work When Establishments Manage Jobs

The Principal Contractors/Contractor must complete a Construction Phase Plan and have suitable risk assessments.  Their risk assessments should complement those completed by the premises manager, designer or project manager (if commissioned) and should cover all relevant hazards.  In the case of high-risk work, it will be necessary to record exactly how the work is to be carried out.  Copies of method statements should be obtained for this purpose from the contractor prior to commencement.

A Minor Works Form (HSC1) has been devised to assist premises managers to formalise the exchange of information with the contractor in relation to the safe working methods to be adopted during the proposed work.  The establishment may need to request technical input from the Project Manager, Engineers or Architects as part of this process.  If the Project Manager has commissioned work of a complex or high-risk nature, this will be managed by specialist staff employed through a partner organisation. If it is deemed necessary for the Project Manager to visit the site, perhaps with a contractor’s representative, there should be an expectation for them to complete the majority of the HSC1 form or equivalent document as part of the planning process.  A site representative should then complete the remainder of the form in the presence of the contractor carrying out the work on the day the project begins.  In particular, it will be necessary to record the emergency contact details of the contractor’s representative as well as going through local procedures, such as first aid and fire safety and making reference to the asbestos survey.

Form HSC1 is included as an appendix to this section and is available in electronic format. It is difficult to define precisely the level of detailed information required for completing this form, as this will generally be proportionate to the level of risk associated with the work activities in question.  Completed forms should be kept at the establishment for future reference.  The form need not be used if more sophisticated documentation has been used to record project planning details.  This would apply to projects where detailed CDM procedures apply (see section J1).

Where the same person frequently carries out the same jobs it may also be practical to produce a standard form that covers the work in question.  Colleagues should refer to the guidance on the back of the form HSC1.

If there is any doubt as to the validity of the safe working procedures to be adopted then a member of Property Services or the Corporate Health and Safety Team should be consulted for further advice.

When the Contractor Arrives On Site

It is especially important to make sure that someone is always available to take responsibility for liaising with the contractor’s representative, and to complete the last part of form HSC1 (tick boxes).

Therefore, information that will need to be exchanged includes:

- accident reporting procedures

- fire and emergency procedures

- first aid cover

- asbestos survey

- permit to work information

- security information

A model induction pack for contractors has been produced centrally and issued to all establishments.  This should be tailored to meet individual needs.

- model contractors’ induction pack (schools),

- model contractors’ induction pack (social care)

It is important to remember that the person who has been allocated the task may not have been involved in all the preliminary discussions.  However, it is not necessary to repeat all this information if the person attends the site regularly.  It would be more appropriate to carry out a site induction for those individuals.

Permits to Work

Permits to work are an essential part of a safe system of work and may be required for some high-risk activities.  They ensure that a more rigorous method of control is put in place in order to avoid accidents.  Typical examples of instances where permits are used include:

- work taking place in a confined space, creating risks of asphyxiation or fire

- work involving portable gas equipment (hot work), often used by heating engineers/ plumbers or roofing contractors, where there is an increased risk of fire

It will be necessary for the occupiers of buildings to be aware of contractors carrying out work which may require a permit to work.  More detailed guidance on this subject is given in the section of this manual which considers safety whilst working in confined spaces.  A copy of the hot work permit can be found in the Northumberland County Council Fire Log Book (Form H).

Monitoring and Review

It is vital that monitoring is carried out in order to ensure that work is being completed in accordance with the agreed standards.  The amount of contact with the contractor should be proportionate to the risks associated with the job.  Any concerns with regard to the contractor’s performance should be fed back to the Property services, which is responsible for reviewing the approved contractors.

In cases where there is of a risk of imminent danger, individual managers should prohibit work ASAP until they have obtained further advice from Property Services or the Corporate Health and Safety Team.

Part 2 - Non Construction Work

Independent contractors also undertake a number of services for the County Council that do not relate to construction activities.  Examples include cleaning, caretaking, catering services, grounds work and domiciliary service provision.

All contracts should be managed using similar systems to those described for building contracts.  The contractor must be competent to carry out the work for which they are to be employed.

It is important to note that managers are responsible for carrying out their own competence checks prior to appointing any contractor independently.

To assess their competence the contractor’s health and safety performance will need to be reviewed.  The following areas should be considered:

- Provision and standard of Health and Safety Policy documentation, such as a policy statement, procedures etc.

- Provision of risk assessments, such as generic and specific activity based assessments.

- Job specific training records for staff that will carry out the work, for example food hygiene courses for catering staff, PA1/PA6 training in use of pesticides and certificate of competence for chainsaw use for Grounds staff.

- General health and safety training records, such as manual handling training, induction training.

- Demonstrable experience in the area of work.

- Insurance arrangements, such as public liability insurance.

- Accident record information, such as number of reportable accidents.

- Supervisory arrangements, such as named person in charge, named point of contact.

- Emergency procedures such as arrangements for first aid, fire prevention etc.

- Membership of advisory associations and bodies.

To complete this competence check a suitable questionnaire should be sent out to the contractor, inviting them to complete it.  When returned this should be vetted by a member of staff who has appropriate knowledge and experience to evaluate the content.

Arrangements within Each Directorate

This section is particularly relevant for schools as there are often safety issues relating to the peculiarities of the particular school in question.  The presence of pupils on site also brings a degree of unpredictability.  Contractors must be prepared to build this fact into their safe systems of work.

Building or Maintenance Work

This is often seen as a technical area of work and staff may lack confidence in approaching a contractor about their safety arrangements or performance.  Training can be obtained by attending the “Control of Contractors” course arranged through Property and Commercial Services.

The changes that have given schools more autonomy to choose who provides their services could have a direct effect on safety within the school environment.  In order to give schools extra help with the identification of safety issues associated with work they choose to manage independently a protocol has been developed.  This protocol has now been incorporated into section E3 of this policy.

Planned Small Works

For small works that are commissioned centrally, the project requires an on-site planning meeting.  The Project Manager should always complete the first part of the HSC1 Form (usually at a pre-start meeting with the contractor) and hand this on to the school for the site contact to finalise the local arrangements when the contractor attends site.

If the governing body of a school commissions work independently, they, or their agent, will complete the form. In the case of construction activities they must fulfil their duties as client and ensure that the contractor has as construction phase plan in place before work begins. Some controls are likely to be stipulated on the N1 approval form which, as mentioned previously, must be sent to the Property Division for approval prior to work being commissioned.  Any restrictions or specific conditions contained within the N1 should then be reflected within form HSC1.

Minor Work and Emergency Work

In practical terms, when the Property Division commission emergency or minor works the responsibility for management of contractors on school sites is one which is likely to rest jointly with the Headteacher and the Property Division.  In such cases a nominated site contact will need to complete the HSC1 Form.

For low risk maintenance activities, emergency works or planned works that do not require a Project Manager’s attendance on site, the school will be responsible for filling in the HSC1 form.  The school should keep one copy and give the other to the contractor.

RECORD OF INFORMATION EXCHANGE FOR CONTRACTORS’ AND

SUB CONTRACTORS’ OPERATIONS (MINOR WORKS FORM HSC1)

| PART A |
| --- |
| Property: | Location: |
| Description of work: | NCC supervising officer: |
|  | Start date: | Finish date: |
| Principle contractor: Address: | Contractor’s site supervisor: |
| Tel no: | NCC Approved Contractor: yes/no |
| PART B |
| Access & Site Hazards |  |
| Electricity Including Overhead Power Lines, Underground Services |  |
| Storage Of Machinery, Equipment & Materials |  |
| Hazardous Substances Including Dust |  |
| Public protection |  |
| Other requirements |  |
| Confirmation of Information supplied to contractor | Asbestos Survey ( First Aid Arrangements ( Emergency Evacuation Procedures ( Accident Reporting Procedures ( Security Information ( Permit Information ( |
| PART C |
| Authorisation Signature of site representative: | Date: |
| Signature of Contractor’s representative: | Date: |

MINOR WORKS FORM (HSC1) - Guidance Notes

This form should be used for all contractors each time they attend site.  The exception to this requirement would be in the case of any contractor who attends site on a regular basis to perform the same task, for example window cleaning, re-glazing, unblocking drains and grass cutting.  In these cases the arrangements should initially be detailed on the form and supplied to the contractor for use on an ongoing basis.

| ACCESS & SITE HAZARDS | Describe agreed access routes (attach site map if necessary). Identify all known risks, including those which are not likely to be obvious to the Contractor, e.g. playground activities, access and traffic routes for members of the public and clients. Stipulate start and finish times and restrictions on access e.g. when service user transport arrives, playtimes etc. (This section could be included in a separate induction pack, which could be developed by establishments to save unnecessary repetition of information). |
| --- | --- |
| OVERHEAD POWER LINES, UNDERGROUND SERVICES | Identify the location of these hazards, as far as is known. The Contractor must devise a safe system of work, incorporating safe working distances from the hazard, barriers and have suitable warning signs in place. The occupier should also seek to confirm that other information on services is provided. This should include relevant isolation arrangements and details of proposed wiring runs. |
| STORAGE OF MACHINERY, EQUIPMENT & MATERIALS | Identify where and how machinery, equipment and materials are to be stored to ensure no risk exists to NCC staff, the Contractor or the public, especially children. |
| HAZARDOUS SUBSTANCES | Identify hazardous substances which the Contractor intends to use. Ensure that they have: manufacturers’ safety data sheets and details of the safe method of application. taken precautions for safe storage and planned emergency action in the event of spillage arrangements for removal from site (including the separation of incompatible materials and recycling where possible). |
| PUBLIC PROTECTION | Give details of all precautions required to protect the public from the work in progress , for example: road and path closures diversions warning signs barriers exclusion zones. |
| OTHER REQUIREMENTS | Use this section to record the exchange of information carried out in relation to the specific job in question. For example, there may be a need to make specific arrangements with the Contractor to ensure that the security of the site is maintained. Alternatively, a job may present a particular risk which needs to be controlled by specific action, such as work to a pathway which may require the provision of a temporary ramp with appropriate handrails. The last section requires that a check is recorded indicating that the Contractor has been provided with certain information. All the relevant boxes should be considered and the box ticked if information has been supplied. Again, some of this information could be included in an induction pack to save time. |

# Text boxes

Purchase Order No: